## OASIS
(Transmission lines rated 138kV and higher that limit bulk power transfers are listed)
Nova Scotia Power |  |  |  | For help, contact: |  |  |  |  | FIM (Flow into Metro) |  | Last Update: | Legends
Transmission Operations |  |  |  | nspsoadmin@nspower.ca | [6 empty] | 2024-07-02 12:06 | Please note all Planned Outages in Green indicates new work
Transmission Planned Outage Schedule | [11 empty] | Please note all Planned Outages in Red indicates there was changes from the previous work schedule
MW (Summer/Winter)
Circuit/Element | For Work On | Start Date | Return Date | Reason | CBX | ONI | ONS | EEX@EB | MDRR | FIM | Generation Restrictions | Import/Export | Notes | Work Status
TR5 | TR5 | 2024-03-23 | 2024-09-30 | Maintenance | [7 empty] | Reduce CBX Corridor Limit by 100MW Reduce Mainland at Hastings Corridor Limit by 50MW
NB STOP 24-013 - Lepreau OOS | NB STOP 24-013 - Lepreau OOS | 2024-04-06 | 2024-07-10 | NB STOP | [7 empty] | NB to NS +PEI <=350 - 400MW | NB Load dependent limit
Point Tupper 2 | Point Tupper 2 | 2024-06-01 | 2024-07-08 | Maintenance | [7 empty] | Reduce CBX Corridor and Mainland at Hastings Corridor limit by 50 MW
L-7012 | L-7012 | 2024-07-02 | 2024-07-25 | Maintenance | #VALUE! | [6 empty] | Cape Breton Export is limited to 710 MW Onslow Import is limited to 965 MW
NB STOP - 24-044-JJ | NB STOP - 24-044-JJ | 2024-07-04 | 2024-07-19 | [8 empty] | Limit Flows to Nova Scotia to 200MW Limit Flows to NS + PEI to 300MW
LIL Pole 2 Outage | LIL Pole 2 Outage | 2024-07-15 | 2024-07-19 | Maintenance | [7 empty] | NL to NS <= 250MW
ML Pole 1 | ML Pole 1 | 2024-07-15 | 2024-07-17 | Maintenance
LIL Pole 1 Outage | LIL Pole 1 Outage | 2024-07-22 | 2024-07-26 | Maintenance | [7 empty] | NL to NS <= 250MW
LIL + ML Testing | LIL + ML Testing | 2024-07-24 | 2024-07-25 | Testing
ML Pole 2 | ML Pole 2 | 2024-07-25 | 2024-07-27 | Maintenance
LIL Bipole Outage | LIL Bipole Outage | 2024-07-29 | 2024-09-16 | Maintenance